# 🧪 FRAP-Tracker BASIC by IGB - FRAP Analysis with Moving Object Tracking

## 🔬 About the Program

This program is designed for analyzing FRAP (Fluorescence Recovery After Photobleaching) experiments where cellular structures (nucleus and foci) may move between frames. The basic version from IGB (Institute of Gene Biology) features automatic nucleus tracking and calculation of foci position relative to it.

## 🎯 Algorithm

### Part 1: Initialization and ROI Selection on BLEACH Frame

1. Image Loading:

- User sequentially selects three files: PRE_BLEACH, BLEACH, POST_BLEACH

- Program supports both single images and multi-page TIFF (Z-stacks/time series)

2. Experiment Parameters Input:

- Experiment name — used for output CSV file naming in forEasyFRAP_name.csv format

- Frame interval (in seconds) — for constructing the time scale

3. ROI Selection on BLEACH Frame:

- Red ROI (FOCI) — user clicks to select foci center and adjusts radius with slider (1-20 pixels)

- Green ROI (NUCLEUS) — user traces nucleus outline (minimum 5 points)

- Program automatically calculates geometric nucleus center (intensity-independent) and saves relative foci position vector (offset from nucleus center)

4. BACKGROUND ROI Selection:

- Slider allows viewing ALL frames (PRE, BLEACH, POST)

- User selects area without cells for background measurement (minimum 3 points)

- Selected area is used for all frames (single ROI)

### Part 2: Frame Processing and Tracking

Key Principle: Foci position is NOT tracked directly! It's always calculated as foci_position = current_nucleus_center + saved_offset_vector

Time Scale:

- BLEACH frame = 0 seconds

- PRE frames = negative time (before bleaching)

- POST frames = positive time (after bleaching)

BLEACH Frame Processing (t=0):

- Original user-selected coordinates are used

- Intensities measured in all ROIs

- Nucleus mask saved for further tracking

PRE Frames Processing (reverse order):

- Frames processed from last (closest to bleach) to first for better accuracy

- Last PRE frame: tracking from BLEACH frame

- Other PRE frames: tracking from previous PRE frame

- Phase correlation method determines nucleus displacement

POST Frames Processing (forward order):

- First POST frame: tracking from BLEACH frame

- Other POST frames: tracking from previous POST frame

For Each Frame:

- New nucleus position determined (geometric center)

- Foci position calculated: nucleus_center + offset_vector

- Intensities measured in circular foci ROI and polygonal nucleus ROI

- Image created with overlaid contours (red — foci, green — nucleus, blue — background)

- Data saved for subsequent export

## 📊 Output Data

CSV file (forEasyFRAP_name.csv):

- EasyFRAP compatible format

- First line: Channel.001

- Second line: headers Axis [s],ROI1 [],ROI2 [],ROI3 []

- Data: time (normalized from 0), foci intensity, nucleus intensity, background intensity

Results Folder (automatically created):

- Processed_Frames/ — all frames with ROI contours overlaid in PNG format

- Parameters.txt — experiment parameters and coordinates

- Intensity and nucleus movement graphs (open automatically)

## 🖱️ User Instructions

### Preparation:

- Prepare three TIFF files: PRE_BLEACH, BLEACH, POST_BLEACH

- Ensure structures (nucleus and foci) are visible in all frames

- Launch the program

### Step-by-Step Workflow:

Step 1 — Enter Experiment Name:

- Enter a descriptive name (only letters, numbers, _ and -)

- This name appears in the output CSV filename

Step 2 — Select Files:

- Sequentially select PRE, BLEACH, and POST files

- Program displays loaded image dimensions

Step 3 — Frame Interval:

- Enter time between frames in seconds (e.g., 5.0)

Step 4 — ROI Selection on BLEACH Frame:

- Left-click on foci center (red circle appears)

- Adjust radius using bottom slider (value displayed on image)

- Click "✅ Finish"

- Trace nucleus outline with left-clicks (minimum 5 points, 8-12 recommended for complex shapes)

- To remove last point — "❌ Remove point"

- Close contour with "✅ FINISH"

Step 5 — BACKGROUND ROI Selection:

- Use slider to view all frames (PRE, BLEACH, POST)

- Select area WITHOUT cells (e.g., empty background, region without fluorescence)

- Trace area with left-clicks (minimum 3 points)

- Click "✅ Finish selection"

Step 6 — Select Output Folder:

- Choose where to save results

- If no folder selected, FRAP_Analysis_Results folder will be created in current directory

- Program creates subfolder with date and time: FRAP_Analysis_YYYYMMDD_HHMMSS

Step 7 — View Results:

- Intensity and nucleus movement graphs automatically open

- Verify tracking was successful (smooth curves, logical movement)

## ⚠️ Important Notes

- Foci tracking happens automatically through nucleus position — no need to select foci in each frame!

- Geometric nucleus center is used instead of intensity-based center of mass — makes tracking robust to brightness changes (important after bleaching)

- PRE frames are processed in reverse order from BLEACH for better accuracy with potential movement

- If automatic tracking fails, program uses last known coordinates (with warning)

- All frames with overlaid contours are saved for quality control

- For complex cases, select more points when tracing the nucleus

## 📈 Result Interpretation

- Foci intensity drop at time 0 — successful bleach

- Intensity recovery in POST frames — FRAP kinetics (recovery rate)

- Nucleus movement graph shows cell displacement during experiment

- If nucleus movement exceeds foci size, results may be less reliable

- CSV file ready for EasyFRAP, Prism, Excel, or any other plotting software